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Packing List
[image: tDS-718i-T_la01]In addition to this guide, the package includes the following items:
	










	tM-7520A



	

Technical Support
service@icpdas.com
www.icpdas.com
	Resources
How to search for drivers, manuals and spec information on ICP DAS website.
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1  Wire Diagram

1) Connect both the tM-7520A and your PC with RS-232 cable.
2) Connect both the tM-7520A and your Devices with RS-485 cable.
[bookmark: _GoBack][image: ]3) Supply power (+10~+30 VDC) to the tM-7520A.   
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